## Sheet1
|  |  |  | 35kV Reactor Interface |  |  |  | 500kV AC Yard Bay Interface | [11 empty] | AC Filter Interface | [15 empty] | AC Filter Protection Measuring Interface | [7 empty] | AC Filter Start Measuring Interface | [7 empty] | AC Filter Operate Box | [7 empty] | AC Filter Protection | [7 empty] | AC Station Control |  | AC Station Interface |  |  | AC Station Interface 52 |  | Auxiliary System Interface | Communication |  | Pole Converter Transformer Non-electric value Interface | [5 empty] | Station Control System Simulator |  | Pole Converter Transformer Interface | [7 empty] | Pole Converter Transformer Protection | [5 empty] | DC Line Fault Locator |  | DC Station Control |  | DC Station Interface | Bipole DC Yard Interface |  | Pole DC Yard Interface |  |  |  | Electrode Line Monitoring | Local Box for Electrode Line Monitoring | FO Cable Interface |  |  |  | Harmonic Monitoring | HV Transformer Interface |  |  |  | Local Control Interface | Bipole Merging Unit |  | Pole Merging Unit |  | Offline Board Test Cubicle | Pole Control |  |  |  | Pole Control Interface | Pole DC Yard Interface |  |  |  | Pole Measuring Interface | [5 empty] | Pole Protection | [5 empty] | Remote Control Communication | Pole SER Interface |  | Server | Station Power Control |  | 10kV I Station Service Interface |  | 10kV II Station Service Interface |  | Incoming Station Service Interface 1 |  | Incoming Station Service Interface 2 |  | 400V Station Service Interface |  | Diesel Generator Interface |  | Pole 1 Station Service Interface |  | Pole 2 Station Service Interface |  | Valve Hall Fire Trip Interface |  | Pole Valve Hall Interface
|  |  |  | No. 1 |  | No. 2 |  | No. 1 |  | No. 2 |  | No. 3 |  | No. 4 |  | No. 5 |  | No. 6 |  | No. 1 |  |  |  | No. 2 |  |  |  | No. 3 |  |  |  | No. 4 |  |  |  | No. 1 |  | No. 2 |  | No. 3 |  | No. 4 |  | No. 1 |  | No. 2 |  | No. 3 |  | No. 4 |  | No. 1 |  | No. 2 |  | No. 3 |  | No. 4 |  | No. 1 |  | No. 2 |  | No. 3 |  | No. 4 |  | A | B | No. 1 | No. 2 | No. 3 | A | B |  | A | B | Pole 1 |  |  | Pole 2 |  |  | Station 1 | Station 2 | Pole 1 YD |  | Pole 1 YY |  | Pole 2 YD |  | Pole 2 YY |  | Pole 1 |  |  | Pole 2 |  |  | No. 1 | No. 2 | A | B |  | A | B | Pole 1 |  | Pole 2 | [8 empty] | No. 1 |  | No. 2 |  |  | No. 1 | No. 2 | No. 1 | No. 2 |  | Pole 1 |  | Pole 2 |  |  | Pole 1 |  | Pole 2 |  | Pole 1 |  |  | Pole 2 |  |  | Pole 1 |  |  | Pole 2 |  |  |  | Pole 1 | Pole 2 |  | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | Pole 1 | Pole 1 | A | B | A | B
|  |  |  | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A1 | A2 | B1 | B2 | A1 | A2 | B1 | B2 | A1 | A2 | B1 | B2 | A1 | A2 | B1 | B2 | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | A | B | [10 empty] | A | B | C | A | B | C |  |  | A | B | A | B | A | B | A | B | A | B | C | A | B | C | [7 empty] | A | B | A | B | [7 empty] | A | B | A | B | [6 empty] | A | B | A | B |  | A | B | A | B | A | B | C | A | B | C | A | B | C | A | B | C
|  |  |  | S2+LRI1A | S2+LRI1B | S2+LRI2A | S2+LRI2B | S2+ACC1A | S2+ACC1B | S2+ACC2A | S2+ACC2B | S2+ACC3A | S2+ACC3B | S2+ACC4A | S2+ACC4B | S2+ACC5A | S2+ACC5B | S2+ACC6A | S2+ACC6B | S2+AFC1A1 | S2+AFC1A2 | S2+AFC1B1 | S2+AFC1B2 | S2+AFC2A1 | S2+AFC2A2 | S2+AFC2B1 | S2+AFC2B2 | S2+AFC3A1 | S2+AFC3A2 | S2+AFC3B1 | S2+AFC3B2 | S2+AFC4A1 | S2+AFC4A2 | S2+AFC4B1 | S2+AFC4B2 | S2+FMPI1A | S2+FMPI1B | S2+FMPI2A | S2+FMPI2B | S2+FMPI3A | S2+FMPI3B | S2+FMPI4A | S2+FMPI4B | S2+FMTI1A | S2+FMTI1B | S2+FMTI2A | S2+FMTI2B | S2+FMTI3A | S2+FMTI3B | S2+FMTI4A | S2+FMTI4B | S2+AFI1-12 | S2+AFI1-34 | S2+AFI2-12 | S2+AFI2-34 | S2+AFI3-12 | S2+AFI3-34 | S2+AFI4-12 | S2+AFI4-34 | S2+AFP1A | S2+AFP1B | S2+AFP2A | S2+AFP2B | S2+AFP3A | S2+AFP3B | S2+AFP4A | S2+AFP4B | S2+ASCA | S2+ASCB | S2+ACI1 | S2+ACI2 | S2+ACI3 | S2+ACI52A | S2+ACI52B | S2+AWS | S2+COMA | S2+COMB | S2+ITFP1A | S2+ITFP1B | S2+ITFP1C | S2+ITFP2A | S2+ITFP2B | S2+ITFP2C | S1+TSIM | S2+TSIM | S2+TFDI1A | S2+TFDI1B | S2+TFYI1A | S2+TFYI1B | S2+TFDI2A | S2+TFDI2B | S2+TFYI2A | S2+TFYI2B | S2+TFP1A | S2+TFP1B | S2+TFP1C | S2+TFP2A | S2+TFP2B | S2+TFP2C | S2+LFL1 | S2+LFL2 | S2+DSCA | S2+DSCB | S2+DCI | S2+BSIA | S2+BSIB | S2+PSI1A | S2+PSI1B | S2+PSI2A | S2+PSI2B | S2+ELIS | S2+ELCI | S2+OFI | S2+OFI1 | S2+OFI2 | S2+OFI3 | S2+OHM | S2+APT1A | S2+APT1B | S2+APT2A | S2+APT2B | S2+LWS | S2+BMI1 | S2+BMI2 | S2+EMI1 | S2+EMI2 | S2+HCBT | S2+PCP1A | S2+PCP1B | S2+PCP2A | S2+PCP2B | S2+PCI | S2+PSI1A | S2+PSI1B | S2+PSI2A | S2+PSI2B | S2+PMI1A | S2+PMI1B | S2+PMI1C | S2+PMI2A | S2+PMI2B | S2+PMI2C | S2+PPR1A | S2+PPR1B | S2+PPR1C | S2+PPR2A | S2+PPR2B | S2+PPR2C | S2+GWS | S2+SER1 | S2+SER2 | S2+SCM | S2+SPCA | S2+SPCB | S2+SPI1A | S2+SPI1B | S2+SPI2A | S2+SPI2B | S2+SPI3A | S2+SPI3B | S2+SPI3A | S2+SPI3B | S2+SPI5A | S2+SPI5B | S2+SPI6A | S2+SPI6B | S2+SPI11A | S2+SPI11B | S2+SPI21A | S2+SPI21B | S2+VFI 1 | S2+VFI 2 | S2+VHI1A | S2+VHI1B | S2+VHI2A | S2+VHI2B
35kV Reactor Interface | No. 1 | A | S2+LRI1A
|  | B | S2+LRI1B
| No. 2 | A | S2+LRI2A
|  | B | S2+LRI2B
500kV AC Yard Bay Interface | No. 1 | A | S2+ACC1A
|  | B | S2+ACC1B
| No. 2 | A | S2+ACC2A
|  | B | S2+ACC2B
| No. 3 | A | S2+ACC3A
|  | B | S2+ACC3B
| No. 4 | A | S2+ACC4A
|  | B | S2+ACC4B
| No. 5 | A | S2+ACC5A
|  | B | S2+ACC5B
| No. 6 | A | S2+ACC6A
|  | B | S2+ACC6B